## Cover
ELECTRICITY GRID TRANSMISSION
THREE-WAY CORPORATE FINANCE MODEL
Australian Energy Regulator (AER) ¦ PTRM ¦ REFM ¦ Frontier ¦ RAB ¦ DTM
Company | GridCo Transmission Pty Ltd
ABN | 12 345 678 901
Version | v1.0 ¦ AER DTM Integrated
Date | 05 April 2026
Scope | FY2019A-FY2023A Historical ¦ FY2024E-FY2033E Forecast
Reg Periods | RCP1: FY2024-FY2028 ¦ RCP2: FY2029-FY2033
Jurisdiction | Australia — AER Regulated Transmission
Currency | AUD Millions (unless stated)
MODEL NAVIGATION
Assumptions | All inputs — the ONLY cells to change
DTM | AER Debt Term Model: 10yr trailing avg cost of debt
REFM | Revenue & Expenditure Forecasting Model (opex/capex)
Frontier | Frontier efficiency shift and X-factor
RAB | Regulatory Asset Base roll-forward
PTRM | Post Tax Revenue Model — Maximum Allowed Revenue (MAR)
Income Statement | 5yr historical + 10yr forecast P&L
Balance Sheet | 5yr historical + 10yr forecast Balance Sheet
Cash Flow | 5yr historical + 10yr forecast Cash Flow
Checks | Model integrity: BS, CFS & RAB checks

## Assumptions
ASSUMPTIONS — Electricity Grid Transmission Utility (AER Framework)
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
WACC & Regulatory Parameters
Post-Tax Nominal WACC (%) | FY2019A: 6.5%
Risk-Free Rate (%) | FY2019A: 4.3%
Equity Risk Premium (%) | FY2019A: 6.2%
Asset Beta | FY2019A: 0.45
Gearing — Debt % of Capital | FY2019A: 55%
Equity % of Capital
Gamma (AER Imputation Credits) | FY2019A: 0.585
Corporate Tax Rate (%) | FY2019A: 30%
CPI Inflation (%)
CPI Rate (%) | 1.5% | 1.7% | 1.8% | 3% | 6% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5%
Revenue & Volumes
Transmission Volume (GWh) | 48000 | 49000 | 50000 | 51000 | 52000 | 52000 | 53000 | 54000 | 55000 | 56000 | 57000 | 58000 | 59000 | 60000 | 61000
Average Tariff ($/MWh) | 12 | 12.3 | 12.7 | 13 | 13.2 | 13.2 | 13.5 | 13.8 | 14.1 | 14.4 | 14.7 | 15 | 15.3 | 15.6 | 15.9
Connection & Access Fees ($M) | 6 | 6.5 | 7 | 7.5 | 8 | 8 | 8.2 | 8.4 | 8.6 | 8.8 | 9 | 9.2 | 9.4 | 9.6 | 9.8
Opex Forecast Allowances (Nominal $M)
Network O&M | [5 empty] | 100 | 102 | 104 | 106 | 108 | 110 | 112 | 114 | 116 | 118
Corporate | [5 empty] | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67
Insurance | [5 empty] | 20 | 20 | 21 | 21 | 22 | 22 | 23 | 23 | 24 | 24
Regulatory | [5 empty] | 10 | 10 | 10 | 10 | 10 | 11 | 11 | 11 | 11 | 11
Capex Programme — Forecast (Nominal $M)
Augmentation | [5 empty] | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290
Replacement | [5 empty] | 160 | 165 | 170 | 175 | 180 | 185 | 190 | 195 | 200 | 205
Connections | [5 empty] | 45 | 47 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62
Regulatory Asset Base — Opening Balances
Opening RAB — FY2019 ($M) | 4800
Standard Asset Life (years) | 40
Opening Accum. Regulatory Dep. ($M) | 1200
Accounting PP&E — Opening Balances (FY2019)
Opening Gross PP&E ($M) | 7800
Opening Accum. D&A ($M) | 2600
Accounting Asset Life (years) | 35
Financing Parameters
Opening LT Debt — FY2019 ($M) | 3500
Opening Cash — FY2019 ($M) | 120
Nominal Cost of Debt (%) | 5.5%
Dividend Payout Ratio (%) | 70%
Annual Debt Issuances ($M) | [5 empty] | 350 | 360 | 370 | 380 | 390 | 400 | 410 | 420 | 430 | 440
Annual Debt Repayments ($M) | [5 empty] | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325
Working Capital
Debtor Days (DSO) | 45
Creditor Days (DPO) | 30
Frontier Efficiency Parameters
Annual Frontier Shift (%) | 0.5%
Opex Efficiency vs Frontier (%) | 95%
Capex Efficiency vs Frontier (%) | 95%
Historical Opex — Actual ($M Nominal)
Network O&M | 89 | 92 | 95 | 97 | 100
Corporate | 52 | 53 | 54 | 56 | 57
Insurance | 18 | 18 | 18 | 19 | 19
Regulatory | 9 | 9 | 9 | 9 | 9
Historical Capex — Actual ($M Nominal)
Augmentation | 150 | 165 | 175 | 185 | 195
Replacement | 100 | 105 | 115 | 130 | 145
Connections | 30 | 35 | 40 | 40 | 40
Historical Financing — Actual ($M)
Debt Issuances | 300 | 310 | 320 | 340 | 360
Debt Repayments | 240 | 245 | 250 | 260 | 270
Opening Balance Sheet (FY2019) — $M
Opening Retained Earnings ($M) | 420
Opening Share Capital ($M) | 880

## DTM
DEBT TERM MODEL (DTM) — AER 10-Year Trailing Average Cost of Debt
% Rate | FY2014A | FY2015A | FY2016A | FY2017A | FY2018A | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
AER methodology: WACD = 10-year trailing average of benchmark bond yields (CGS + DRP + issuance costs). Each year 1/10th of total debt is re-priced at prevailing market rates.
COMPONENT YIELDS BY VINTAGE YEAR
Risk-Free Rate — 10yr CGS Yield (%) | 3.5% | 3% | 2.5% | 2.7% | 2.9% | 1.7% | 0.9% | 1.8% | 3.7% | 4.3% | 4% | 3.8% | 3.7% | 3.6% | 3.6% | 3.6% | 3.6% | 3.6% | 3.6% | 3.6%
Debt Risk Premium — BBB+ Spread (%) | 1.7% | 1.8% | 2% | 1.9% | 1.8% | 2% | 2.5% | 2.2% | 2% | 1.9% | 1.8% | 1.75% | 1.7% | 1.7% | 1.7% | 1.7% | 1.7% | 1.7% | 1.7% | 1.7%
BENCHMARK YIELD CALCULATION
Benchmark Yield (RFR + DRP, %) | bar: FY2014A to FY2023A
+ Issuance Costs (%) | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125% | 0.125%
Total Benchmark Cost of Debt (%) | bar: FY2014A to FY2023A
10-YEAR TRAILING AVERAGE WACD
Trailing Avg Cost of Debt (WACD, %) | bar: FY2014A to FY2023A
No. Vintage Years in Average | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
WACD FEED TO FINANCIAL MODEL (FY2019A-FY2033E)
Benchmark WACD for Model Year (%) | bar: FY2019A to FY2023A

## Projects
CAPITAL PROJECTS PIPELINE — Project-Level Capex Schedule
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
Capital Projects ($M Nominal) — Forecast Period FY2024E–FY2033E
Project Name ¦ Type ¦ Budget $M
P001 Grid Modernisation Program | FY2024E: 90; FY2025E: 130; FY2026E: 150; FY2027E: 120; FY2028E: 80; FY2029E: 60
P002 Substation Upgrades — Zone A | FY2024E: 70; FY2025E: 90; FY2026E: 50
P003 HVDC Interconnect (Stage 1) | FY2025E: 60; FY2026E: 120; FY2027E: 150; FY2028E: 120; FY2029E: 30
P004 New Connection — Wind Farm A | FY2024E: 25; FY2025E: 20
P005 Transformer Replacement Program | FY2024E: 35; FY2025E: 40; FY2026E: 45; FY2027E: 50; FY2028E: 55; FY2029E: 55; FY2030E: 50; FY2031E: 20
P006 Protection Relay Upgrade | FY2024E: 30; FY2025E: 35; FY2026E: 30; FY2027E: 25
P007 New Connection — Solar Farm B | FY2025E: 40; FY2026E: 40
P008 Transmission Reconductoring | FY2026E: 50; FY2027E: 70; FY2028E: 90; FY2029E: 90; FY2030E: 80; FY2031E: 40
P009 Digital Twin Infrastructure | FY2027E: 30; FY2028E: 35; FY2029E: 25
P010 Reactive Power Support | FY2028E: 25; FY2029E: 30; FY2030E: 20
TOTAL CAPEX BY YEAR ($M) | FY2019A: 280; FY2020A: 305; FY2021A: 330; FY2022A: 355; FY2023A: 380
AUG=Augmentation (blue) ¦ REPL=Replacement (yellow) ¦ CONN=Connections (green)
Augmentation (AUG) | 150 | 165 | 175 | 185 | 195 | 90 | 190 | 270 | 300 | 260 | 145 | 20 | 0 | 0 | 0
Replacement (REPL) | 100 | 105 | 115 | 130 | 145 | 135 | 165 | 175 | 145 | 145 | 145 | 130 | 60 | 0 | 0
Connections (CONN) | 30 | 35 | 40 | 40 | 40 | 25 | 60 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Capex
CAPITAL EXPENDITURE SCHEDULE — Detailed Capex Build-Up
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
Project-Sourced Capex by Category ($M Nominal)
Augmentation Capex | bar: FY2019A to FY2023A
Replacement / Renewal | bar: FY2019A to FY2023A
Connections | bar: FY2019A to FY2023A
Total Project Capex
Capitalised Overheads
Overhead Capitalisation Rate (%) | bar: FY2019A
Capitalised Overheads ($M) | bar: FY2019A to FY2023A
TOTAL CAPEX (incl. overheads)
Reconciliation to Assumptions Capex ($M)
Assumptions Total (aug+repl+conn) | FY2019A: 280; FY2020A: 305; FY2021A: 330; FY2022A: 355; FY2023A: 380
Variance (Capex tab less Assumptions) | FY2019A: 0; FY2020A: 0; FY2021A: 0; FY2022A: 0; FY2023A: 0

## Fixed Assets
FIXED ASSET REGISTER — PP&E Roll-Forward by Asset Class
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
Gross PP&E and Accumulated D&A by Asset Class ($M)
TRANSMISSION LINES (Standard Life: 40 yrs)
Opening Gross PP&E | FY2019A: 3200
+ Additions (from Capex)
− Disposals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing Gross PP&E
Opening Accum. D&A | FY2019A: 1067
D&A Charge (closing gross / life)
Closing Accum. D&A
SUBSTATIONS (Standard Life: 40 yrs)
Opening Gross PP&E | FY2019A: 2400
+ Additions (from Capex)
− Disposals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing Gross PP&E
Opening Accum. D&A | FY2019A: 800
D&A Charge (closing gross / life)
Closing Accum. D&A
TRANSFORMERS (Standard Life: 30 yrs)
Opening Gross PP&E | FY2019A: 1200
+ Additions (from Capex)
− Disposals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing Gross PP&E
Opening Accum. D&A | FY2019A: 480
D&A Charge (closing gross / life)
Closing Accum. D&A
SCADA & CONTROL (Standard Life: 15 yrs)
Opening Gross PP&E | FY2019A: 600
+ Additions (from Capex)
− Disposals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing Gross PP&E
Opening Accum. D&A | FY2019A: 180
D&A Charge (closing gross / life)
Closing Accum. D&A
OTHER EQUIPMENT (Standard Life: 20 yrs)
Opening Gross PP&E | FY2019A: 400
+ Additions (from Capex)
− Disposals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing Gross PP&E
Opening Accum. D&A | FY2019A: 73
D&A Charge (closing gross / life)
Closing Accum. D&A
CONSOLIDATED TOTALS ($M)
Total Gross PP&E
Total Accum. D&A
Total Net PP&E
Total D&A Charge (feeds IS D&A)

## Workforce
WORKFORCE — Headcount & Labour Cost Model
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
On-Cost Parameters
On-Cost Rate (super, leave, workers comp, etc.) | FY2019A: 30%
Workforce by Department
NETWORK OPERATIONS (field technicians & operators)
Headcount (FTE) | 248 | 251 | 254 | 257 | 260 | 263 | 267 | 270 | 273 | 277 | 280 | 283 | 287 | 290 | 294
Avg. Salary ($/FTE, nominal $'000) | FY2019A: 95; FY2020A: 97.4; FY2021A: 99.8; FY2022A: 102.3; FY2023A: 104.9; FY2024E: 107.5
Salary Cost ($M)
On-Costs ($M)
Total Labour Cost ($M)
ENGINEERING & PLANNING (asset, protection, planning)
Headcount (FTE) | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 86 | 87 | 89 | 90 | 92 | 93 | 95 | 97
Avg. Salary ($/FTE, nominal $'000) | FY2019A: 120; FY2020A: 123; FY2021A: 126.1; FY2022A: 129.2; FY2023A: 132.5; FY2024E: 135.8
Salary Cost ($M)
On-Costs ($M)
Total Labour Cost ($M)
CORPORATE & SHARED SERVICES (finance, HR, legal, comms)
Headcount (FTE) | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132
Avg. Salary ($/FTE, nominal $'000) | FY2019A: 110; FY2020A: 112.7; FY2021A: 115.6; FY2022A: 118.5; FY2023A: 121.4; FY2024E: 124.5
Salary Cost ($M)
On-Costs ($M)
Total Labour Cost ($M)
ICT & DIGITAL (infrastructure, cybersecurity, data)
Headcount (FTE) | 42 | 43 | 44 | 45 | 46 | 48 | 50 | 52 | 54 | 55 | 57 | 58 | 59 | 60 | 61
Avg. Salary ($/FTE, nominal $'000) | FY2019A: 115; FY2020A: 117.9; FY2021A: 120.8; FY2022A: 123.8; FY2023A: 126.9; FY2024E: 130.1
Salary Cost ($M)
On-Costs ($M)
Total Labour Cost ($M)
EXECUTIVE & MANAGEMENT (C-suite, directors, managers)
Headcount (FTE) | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 26 | 26 | 26
Avg. Salary ($/FTE, nominal $'000) | FY2019A: 250; FY2020A: 256.2; FY2021A: 262.7; FY2022A: 269.2; FY2023A: 276; FY2024E: 282.9
Salary Cost ($M)
On-Costs ($M)
Total Labour Cost ($M)
TOTAL WORKFORCE SUMMARY
Total Headcount (FTE)
Total Labour Cost ($M)
→ Network Ops Cost (feeds O&M line)
→ Support Functions Cost (feeds Corporate line)

## Maintenance
MAINTENANCE — Asset Maintenance Cost Schedule
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
PLANNED / PREVENTIVE MAINTENANCE ($M)
Transmission Lines | FY2019A: 24; FY2020A: 24.4; FY2021A: 24.8; FY2022A: 25.6; FY2023A: 27.1
Substations | FY2019A: 18; FY2020A: 18.3; FY2021A: 18.6; FY2022A: 19.2; FY2023A: 20.3
Transformers | FY2019A: 12; FY2020A: 12.2; FY2021A: 12.4; FY2022A: 12.8; FY2023A: 13.5
SCADA & Control | FY2019A: 8; FY2020A: 8.1; FY2021A: 8.3; FY2022A: 8.5; FY2023A: 9
Other Equipment | FY2019A: 4.5; FY2020A: 4.6; FY2021A: 4.7; FY2022A: 4.8; FY2023A: 5.1
Total Planned Maintenance
CORRECTIVE / EMERGENCY MAINTENANCE ($M)
Corrective Rate (% of planned) | FY2019A: 15%
Total Corrective Maintenance | bar: FY2019A to FY2023A
TOTAL MAINTENANCE COST ($M) — Feeds Network O&M in IS
Total Maintenance (Planned + Corrective)
Note: Maintenance total is a supporting schedule. IS Network O&M is currently driven by Assumptions/REFM. Update REFM O&M inputs to align with this schedule.

## REFM
REVENUE & EXPENDITURE FORECASTING MODEL (REFM)
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
Operating Expenditure ($M)
Network O&M
Corporate
Insurance
Regulatory
Total Opex
Capital Expenditure ($M) — Forecast sourced from Capex tab
Augmentation Capex
Replacement / Renewal
Connections
Total Capex
Opex Variance — Allowed vs Actual ($M)
Opex Allowed (from PTRM)
Opex Actual (this sheet)
Variance (Allowed − Actual)
Efficiency Carryover Mechanism (ECM)
ECM Sharing Rate | FY2019A: 30%
ECM Benefit ($M)

## Frontier
FRONTIER PRICING MODEL — Efficiency Shift & X-Factor
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
Frontier Efficiency Adjustment
Cumulative Frontier Shift Factor | FY2019A: 100%; FY2020A: 100%; FY2021A: 100%; FY2022A: 100%; FY2023A: 100%
Raw Opex — from REFM ($M)
Frontier-Adjusted Opex Allowance ($M)
Raw Capex — from REFM ($M)
Frontier-Adjusted Capex ($M)
X-Factor (%) | bar: FY2019A to FY2023A

## RAB
REGULATORY ASSET BASE (RAB) ROLL-FORWARD
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
RAB Roll-Forward ($M)
Opening RAB
+ CPI Indexation
+ Capex Additions
− Regulatory Depreciation
= Closing RAB
Average RAB (Return on RAB base)
Accumulated Regulatory Depreciation ($M)
Accum. Reg. Depreciation (closing)

## PTRM
POST TAX REVENUE MODEL (PTRM) — Maximum Allowed Revenue
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
MAR Build-Up ($M)
Return on RAB (Avg RAB × WACC) | FY2019A: 319.5; FY2020A: 335.7; FY2021A: 353.8; FY2022A: 375.8; FY2023A: 407.4
Return of RAB (Regulatory Depreciation) | FY2019A: 120; FY2020A: 125.8; FY2021A: 132.4; FY2022A: 139.7; FY2023A: 149.3
Opex Allowance (Frontier-adjusted) | FY2019A: 168; FY2020A: 172; FY2021A: 176; FY2022A: 181; FY2023A: 185
Tax Allowance | FY2019A: 39.7; FY2020A: 41.8; FY2021A: 44; FY2022A: 46.7; FY2023A: 50.7
Maximum Allowed Revenue (MAR) | FY2019A: 603; FY2020A: 629; FY2021A: 666; FY2022A: 687; FY2023A: 731
Tax Allowance Build-Up ($M)
Taxable Income (Return on RAB) | FY2019A: 319.5; FY2020A: 335.7; FY2021A: 353.8; FY2022A: 375.8; FY2023A: 407.4
Gross Tax (× tax rate) | FY2019A: 95.8; FY2020A: 100.7; FY2021A: 106.1; FY2022A: 112.7; FY2023A: 122.2
Gamma Benefit (× gamma × tax rate) | FY2019A: 56.1; FY2020A: 58.9; FY2021A: 62.1; FY2022A: 66; FY2023A: 71.5
Net Tax Allowance | FY2019A: 39.7; FY2020A: 41.8; FY2021A: 44; FY2022A: 46.7; FY2023A: 50.7

## Initiatives
STRATEGIC INITIATIVES — Revenue Growth & Cost Reduction Pipeline
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
REVENUE ENHANCEMENT ($M — annual benefit)
Ancillary Services & FCAS Revenue | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 5 | 6 | 7 | 8 | 8 | 8 | 9 | 9
New Connection Pipeline (beyond P004/P007) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 4 | 4 | 5 | 5 | 5 | 6
Tariff Structure & Access Review | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 5 | 5 | 6 | 6 | 6
TOTAL REV INITIATIVES
→ Added to IS Revenue (above base MAR)
OPEX REDUCTION INITIATIVES ($M — annual saving)
Procurement & Supply Chain Savings | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 4 | 5 | 6 | 6 | 7 | 7 | 7
Digital Automation & Predictive Maintenance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 3 | 4 | 4 | 5 | 5
Energy Efficiency & Fleet Electrification | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2
TOTAL OPEX INITIATIVES
→ Reduces IS Total Opex
FINANCE COST REDUCTION ($M — annual saving)
Debt Refinancing — Lower Benchmark Rate | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 6 | 7 | 8 | 8 | 9 | 9 | 10
Interest Rate Hedging Programme | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3
TOTAL FIN INITIATIVES
→ Reduces IS Interest Expense
DEPRECIATION REDUCTION ($M — annual saving)
Asset Life Extension Review (regulatory approved) | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 5 | 5 | 5 | 5 | 6 | 6 | 6
Targeted Asset Disposal & Write-Off | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
TOTAL DEP INITIATIVES
→ Reduces IS D&A Charge
NET INITIATIVE VALUE — ANNUAL IMPACT ON NET INCOME ($M)
Net Annual Value (Rev + Opex + Finance + D&A savings, pre-tax)

## Income Statement
INCOME STATEMENT — Electricity Grid Transmission Utility
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
Revenue ($M)
Transmission Revenue | FY2019A: 597; FY2020A: 622.5; FY2021A: 659; FY2022A: 679.5; FY2023A: 723
Connection & Access Fees | FY2019A: 6; FY2020A: 6.5; FY2021A: 7; FY2022A: 7.5; FY2023A: 8
Total Revenue | FY2019A: 603; FY2020A: 629; FY2021A: 666; FY2022A: 687; FY2023A: 731
Operating Expenditure ($M)
Network O&M | FY2019A: 89; FY2020A: 92; FY2021A: 95; FY2022A: 97; FY2023A: 100
Corporate | FY2019A: 52; FY2020A: 53; FY2021A: 54; FY2022A: 56; FY2023A: 57
Insurance | FY2019A: 18; FY2020A: 18; FY2021A: 18; FY2022A: 19; FY2023A: 19
Regulatory | FY2019A: 9; FY2020A: 9; FY2021A: 9; FY2022A: 9; FY2023A: 9
Total Opex | FY2019A: 168; FY2020A: 172; FY2021A: 176; FY2022A: 181; FY2023A: 185
EBITDA | FY2019A: 435; FY2020A: 457; FY2021A: 490; FY2022A: 506; FY2023A: 546
Depreciation & Amortisation | FY2019A: 230.9; FY2020A: 239.6; FY2021A: 249; FY2022A: 259.1; FY2023A: 270
EBIT | FY2019A: 204.1; FY2020A: 217.4; FY2021A: 241; FY2022A: 246.9; FY2023A: 276
Interest Expense | FY2019A: 192.5; FY2020A: 195.8; FY2021A: 199.4; FY2022A: 203.2; FY2023A: 207.6
EBT | FY2019A: 11.6; FY2020A: 21.6; FY2021A: 41.6; FY2022A: 43.7; FY2023A: 68.4
Income Tax | FY2019A: 3.5; FY2020A: 6.5; FY2021A: 12.5; FY2022A: 13.1; FY2023A: 20.5
Net Income | FY2019A: 8.1; FY2020A: 15.1; FY2021A: 29.1; FY2022A: 30.6; FY2023A: 47.9
Dividends | FY2019A: 5.7; FY2020A: 10.6; FY2021A: 20.4; FY2022A: 21.4; FY2023A: 33.5
Retained Earnings | FY2019A: 2.4; FY2020A: 4.5; FY2021A: 8.7; FY2022A: 9.2; FY2023A: 14.4

## Balance Sheet
BALANCE SHEET — Electricity Grid Transmission Utility
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
ASSETS ($M)
Cash & Cash Equivalents | FY2019A: 130.3; FY2020A: 131.5; FY2021A: 125; FY2022A: 116.1; FY2023A: 105.4
Accounts Receivable | FY2019A: 74.3; FY2020A: 77.5; FY2021A: 82.1; FY2022A: 84.7; FY2023A: 90.1
Total Current Assets | FY2019A: 204.6; FY2020A: 209; FY2021A: 207.1; FY2022A: 200.8; FY2023A: 195.5
Gross PP&E | FY2019A: 8080; FY2020A: 8385; FY2021A: 8715; FY2022A: 9070; FY2023A: 9450
(Less) Accumulated D&A | FY2019A: 2830.9; FY2020A: 3070.5; FY2021A: 3319.5; FY2022A: 3578.6; FY2023A: 3848.6
Net PP&E | FY2019A: 5249.1; FY2020A: 5314.5; FY2021A: 5395.5; FY2022A: 5491.4; FY2023A: 5601.4
Regulatory Asset (RAB excess over book) | FY2019A: -217.1; FY2020A: -17.8; FY2021A: 194.1; FY2022A: 481.2; FY2023A: 960.3
Total Non-Current Assets | FY2019A: 5032; FY2020A: 5296.7; FY2021A: 5589.6; FY2022A: 5972.6; FY2023A: 6561.7
TOTAL ASSETS | FY2019A: 5236.6; FY2020A: 5505.7; FY2021A: 5796.7; FY2022A: 6173.4; FY2023A: 6757.2
LIABILITIES ($M)
Accounts Payable | FY2019A: 13.8; FY2020A: 14.1; FY2021A: 14.5; FY2022A: 14.9; FY2023A: 15.2
Total Current Liabilities | FY2019A: 13.8; FY2020A: 14.1; FY2021A: 14.5; FY2022A: 14.9; FY2023A: 15.2
Long-Term Debt | FY2019A: 3560; FY2020A: 3625; FY2021A: 3695; FY2022A: 3775; FY2023A: 3865
Deferred Tax Liability | FY2019A: 0; FY2020A: 0; FY2021A: 0; FY2022A: 0; FY2023A: 0
Total Non-Current Liabilities | FY2019A: 3560; FY2020A: 3625; FY2021A: 3695; FY2022A: 3775; FY2023A: 3865
TOTAL LIABILITIES | FY2019A: 3573.8; FY2020A: 3639.1; FY2021A: 3709.5; FY2022A: 3789.9; FY2023A: 3880.2
EQUITY ($M)
Share Capital & Reserves | FY2019A: 880; FY2020A: 880; FY2021A: 880; FY2022A: 880; FY2023A: 880
Retained Earnings | FY2019A: 422.4; FY2020A: 426.9; FY2021A: 435.6; FY2022A: 444.8; FY2023A: 459.2
Total Equity | FY2019A: 1302.4; FY2020A: 1306.9; FY2021A: 1315.6; FY2022A: 1324.8; FY2023A: 1339.2
TOTAL LIABILITIES & EQUITY | FY2019A: 4876.2; FY2020A: 4946; FY2021A: 5025.1; FY2022A: 5114.7; FY2023A: 5219.4

## Cash Flow
CASH FLOW STATEMENT — Indirect Method
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
OPERATING ACTIVITIES ($M)
Net Income | FY2019A: 8.1; FY2020A: 15.1; FY2021A: 29.1; FY2022A: 30.6; FY2023A: 47.9
+ Depreciation & Amortisation | FY2019A: 230.9; FY2020A: 239.6; FY2021A: 249; FY2022A: 259.1; FY2023A: 270
+/− Change in Accounts Receivable | FY2019A: -3.7; FY2020A: -3.2; FY2021A: -4.6; FY2022A: -2.6; FY2023A: -5.4
+/− Change in Accounts Payable | FY2019A: 0.7; FY2020A: 0.3; FY2021A: 0.4; FY2022A: 0.4; FY2023A: 0.3
+/− Change in Regulatory Assets | FY2019A: 0; FY2020A: 0; FY2021A: 0; FY2022A: 0; FY2023A: 0
Net Cash from Operating Activities | FY2019A: 236; FY2020A: 251.8; FY2021A: 273.9; FY2022A: 287.5; FY2023A: 312.8
INVESTING ACTIVITIES ($M)
Capital Expenditure | FY2019A: -280; FY2020A: -305; FY2021A: -330; FY2022A: -355; FY2023A: -380
Net Cash from Investing Activities | FY2019A: -280; FY2020A: -305; FY2021A: -330; FY2022A: -355; FY2023A: -380
FINANCING ACTIVITIES ($M)
Debt Issuances | FY2019A: 300; FY2020A: 310; FY2021A: 320; FY2022A: 340; FY2023A: 360
Debt Repayments | FY2019A: -240; FY2020A: -245; FY2021A: -250; FY2022A: -260; FY2023A: -270
Dividends Paid | FY2019A: -5.7; FY2020A: -10.6; FY2021A: -20.4; FY2022A: -21.4; FY2023A: -33.5
Net Cash from Financing Activities | FY2019A: 54.3; FY2020A: 54.4; FY2021A: 49.6; FY2022A: 58.6; FY2023A: 56.5
Net Change in Cash | FY2019A: 10.3; FY2020A: 1.2; FY2021A: -6.5; FY2022A: -8.9; FY2023A: -10.7
Opening Cash Balance | FY2019A: 120; FY2020A: 130.3; FY2021A: 131.5; FY2022A: 125; FY2023A: 116.1
Closing Cash Balance | FY2019A: 130.3; FY2020A: 131.5; FY2021A: 125; FY2022A: 116.1; FY2023A: 105.4

## Checks
MODEL CHECKS — Balance Sheet ¦ CFS Roll-Forward ¦ RAB Integrity
$AUD Millions | FY2019A | FY2020A | FY2021A | FY2022A | FY2023A | FY2024E | FY2025E | FY2026E | FY2027E | FY2028E | FY2029E | FY2030E | FY2031E | FY2032E | FY2033E
BALANCE SHEET CHECK
Total Assets
Total Liabilities & Equity
Discrepancy (target = 0) | bar: FY2024E to FY2033E
CFS ROLL-FORWARD CHECK
Closing Cash (Balance Sheet)
Closing Cash (Cash Flow)
Discrepancy (target = 0) | bar: FY2024E to FY2033E
RAB INTEGRITY CHECK
Closing RAB (RAB sheet)
Discrepancy (target = 0) | bar: FY2024E to FY2033E